## Slide 1: Keystone Solar Future Project

## Slide 2: Conventional Power Grid
Photo Credit: https://cleantechnica.com/2015/12/16/how-the-grid-works-why-renewables-can-dominate/
2

## Slide 3: How do get notified of these?
3
Photo Credit: google.com

## Slide 4: Smart Grid

## Slide 5: Three-Phase vs. Single-Phase
5
The distribution grid largely consists of circuits with the following types of construction:
THREE-PHASE – The “backbone” lines that serve some customers and make up the main line of the circuit
SINGLE-PHASE – One of the three phases off the “backbone” three-phase lines that serve customers, very common in rural areas
THREE-PHASE
SINGLE-PHASE

## Slide 6: Sectionalizing Overview
6
Three-Phase
Substation
Single-Phase
100
100
200
300
100
400
200
Current Flow
200
100
Tie Point
Total Customers: 1,700

## Slide 7: Sectionalizing Overview – No Sectionalizing
7
Three-Phase
Substation
Single-Phase
100
100
200
300
100
400
200
Current Flow
200
100
Tie Point
Out of Power: 1,700 customers

## Slide 8: Sectionalizing Overview – With Sectionalizing
8
Three-Phase
Substation
Single-Phase
100
100
200
300
100
400
200
Current Flow
200
100
Tie Point
Total Customers: 1,700

## Slide 9: Sectionalizing Overview – With Sectionalizing
9
Three-Phase
Substation
Single-Phase
100
100
100
200
300
100
400
200
Current Flow
200
Current Flow
Tie Point
Out of Power: 500 customers
In Power: 1,200 customers

## Slide 10: The Past – Mechanical Devices
10
Protective: Oil-Circuit Recloser
Sectionalizing: Air-Break Switch
Sectionalizing: Fused Cutout
Sectionalizing: Load-Break Switch

## Slide 11: The Present – Smart Devices
11
Protective & Sectionalizing: Vacuum Circuit Recloser
Recloser Control with Downed Conductor Detection
DMS
Cellular
Network
Distribution Management System
“The Brain”

## Slide 12: Grid of Future is not just a future trend…
Total DER Capacity on System: 172 MW
SOLAR 66%
BIOGAS 18%
CHP 16%
BATTERY <1%
WIND <1%
12
Notes: Paul W – Change this to the same chart of applications in Greg’s October Offi3cer Meeting  the message here is that we are growing really fast
Get updated de

## Slide 13: Distributed Generation
13
PPL customers are becoming suppliers of electricity with the advancement of Distributed Generation technologies such as solar, wind, and combined heat and power
PPL is currently focused on communication with customer solar inverters through the Keystone Solar Future Project
The solar inverter is the “brains” of the solar installation, converting DC power to utility-usable AC power and controlling the output of the solar system

## Slide 14
Project Scope
Interconnection Web Portal
Distributed Resource Management System (DERMS)
Proof of concept / Pilot
Notes: Talking Points: T&D only

## Slide 15: Interconnection Web Portal
DER Interconnection Application Review Process – Current vs. New
15
Notes: Talking points:
Customer facing portal which intends to standardize interconnection applications
Implementing a fast track option for customers that met the automatic analysis requirement
Application review times will be dramatically improved and more approvals are expected
Integrated with grid management software through GIS which is very important in order to support operations and applications in DERMS – next slide is a diagram

## Slide 16: Keystone Solar Future Project
16
Notes:   Talking Points:
  Objective: An innovative platform to securely and reliably plan for, monitor, and control 3rd party Distributed Energy Resources in coordination with grid devices to create a safer more reliable, more cost effective grid.
Innovative pilot program to develop and evaluate a technology platform to manage high levels of DER, and improve interconnection
Portion of project funding will come from a U.S. DOE grant
Numerous accomplished industry partners will support the project, and results will be widely shared
Technology platform will build upon PPL’s existing smart grid, which began itself through a U.S. DOE grant
The incremental cost of this is relatively low because we made the fundamental investments in a spatial model, powerflow model and DMS.
Two key sections under this project: web portal and DERMS development

## Slide 17: Foundation of Distribution Management System
Substation
Tie Point
17